## Read this first
Setting the Stage:
Go to method assessment
When faced with a sample of a matrix not included in any published validation study, and with no relevant internal validation or verification data already on file, how does one decide that the proposed test method is fit for purpose?
The tabs in this workbook provide a series of questions, answers to which either direct the next action or build a "risk score" that is used to determine how much additional evaluation is needed to have confidence in the candidate method. In providing this guidance, there is an underlying assumption that the method has been verified for use in the laboratory and is operated within a quality system with all training, proficiency, etc documentation complete and up to date. Overall the scheme is intended to operate flexibly, and to address a range of situations and risks.
It is apparent from the flow chart, that the degree of evaluation increases as the risk associated with a matrix increases. In this context, risk is associated with the amount of food distributed, the geographical range of distribution, etc.
Prepared by the Validation and Verification interest group of the International Association of Food Protection's Applied Laboratory Methods Professional Development Group, co-chairs, Megan S. Brown (Eurofins Microbiology) and Stephanie Pollard (Clear Labs, Inc.).
Contributing Authors:
Patrick Bird; PMB BioTek Consulting, West Chester, OH
Megan Brown, Eurofins Microbiology Laboratories, Inc., Madison WI
Sharon L. Brunelle, Brunelle Biotech Consulting, Corvallis, OR
W. Evan Chaney, Diamond V, Cedar Rapids, IA
Charles Kennett, TreeHouse Foods, Oak Brook IL
J. David Legan, Eurofins Microbiology Laboratories, Inc., Madison WI
Ryan D. Maus, Deibel Laboratories, Inc., Lincolnwood, IL
Stephanie Pollard, Clear Labs, Inc., San Carlos, CA
Laurie Post, Deibel Laboratories, Inc., Lincolnwood, IL
Alexandria VanAusdall, Eurofins Microbiology Laboratories, Inc., Madison WI
© IAFP 2020 Permission is granted to copy this workbook for personal use, or for professional use to support your consideration and decision-making on the evaluation needed when applying a method to a new matrix. The contributing authors reserve the right to revise and reissue including in other formats. Copying for any other purpose requires expressed consent in writing from IAFP or its delegate.
Acknowledgements:
The group would like to thank Thomas Hammack, Senior Policy Analyst for Microbiology at the Center for Food Safety and Applied Nutrition (CFSAN), for his critical input and support.
Disclaimer | How does everyone want to be attributed?
Every care has been taken to use the best current scientific knowledge regarding microbiological method suitability. This tool is provided to help users to think through the circumstances surrounding any particular matrix and guide users towards appropriate actions. However, the user accepts all responsibility for the final decision that they take, and any consequences arising therefrom.
Is anyone's organization likely to have issues with creative commons licensing?
Next:
Go to method assessment

## Method Assessment
Home | For Use with Products Regulated in the U.S. (e.g. FDA or USDA-FSIS)
Estimate of need for validation or verification
| No. | Question | Action on response
|  |  | Yes | No
| 0 | Is the method validated for this specific matrix, test portion size and enrichment ratio? | Fit for purpose. Free to use without further evaluation | Go to 1
| 1 | Is the method validated at all? | Go to 2 | Conduct a single laboratory method validation study
| 2 | Is the method validated for a broad range of foods*? | Go to 3 | Go to 5
| 3 | Has a similar matrix with the same test portion size and enrichment ratio been validated? | Go to 4 | Go to 5
| 4 | Perform Fit-for-Purpose Test. | See "Fit-for-Purpose Test Options" Tab
| 5 | Conduct risk assessment to determine level of evaluation required. | See "Risk Assessment" Tab
*Broad range of foods is defined as at least 15 unique matrices across three food categories. Food categories can be found in ISO 16140-2 Annex A.

## Fit-for-Purpose Test Options
Home
Recommended Fit-for-Purpose Study Design:
| Option | Method | Inoculation level (CFU / test portion) | Number of test portions | Analysis
| Fit-for-Purpose Assay | Candidate method | 20-30 | 3 | See Fit-for-Purpose Result Analysis Tab
|  |  | 0 | 3
|  | Reference method | 20-30 | 3
Additional Fit-for-Purpose Study Designs
| Option | Inoculation level (CFU / test portion) | Method | Number of test portions | Expected Result | Notes
| FDA 5.1.1 Matrix Verification FDA Emergency Use | 20-30 | Candidate method | 7 | 7/7 positive | Once 7/7 OR 19/20 spikes are recovered consider matrix verified: no further evaluation necessary. May be performed in parallel with test samples, results of which will be invalidated if spikes are not recovered.
|  |  |  | 20 | 19/20 positive
| USP style Suitability Test | 20-30 | Candidate method | 1 | 1/1 positive

## Fit-for-Purpose Result Analysis
Home | [6 empty] | Editorial notes
Fit-for-Purpose Study Analysis:
Back to Fit for Purpose Test Options
| Outcome | Method | Detection Results (Correct result / Number tested) |  | Explanation and response
|  |  | Inoculated (expected positives) | Non-inoculated controls (expected negatives) |  | Next |  | Comments
| 1 | Candidate method | 3/3 | 3/3 | Candidate method is suitable for use with this matrix. Further evaluation is not needed but may be conducted if desired. | Return to method assessment |  | SB - For the purposes of the Suitability Test, are the Test Method test portions confirmed or is the the presumptive result?
|  | Reference method | 3/3 | N/A
| 2 | Candidate method | 2/3 | 3/3 | Lack of detection in one of the inoculated samples suggests matrix interference with the assay or pathogen growth issues. Consider dilution, neutralization or alternative treatment to remove inhibition, then repeat Fit-for-Purpose test. If still fails, consider alternative method / platform. | Return to method assessment | Do we need to create a scheme of dilution, neutralization etc to indicate when to stop? | SB - Could also be lack of sufficient growth of the target organism in the test method enrichment. Perhaps high background of competitive organisms; might need different enrichment conditions or a secondary enrichment. I suppose this leads to considering an alternate method.
|  | Reference method | 3/3 | N/A
| 3 | Candidate method | 3/3 | 3/3 | Suggests matrix inhibition during enrichment with reference method and/or a candidate method that is more sensitive than the reference method. Another possibility is that the inoculum level is much lower than intended. However, candidate method passes Fit-for-Purpose Test and can be used. | Return to method assessment | Carefully review conclusion that method passes suitability of reference method fails | SB - You are assuming that the Test Method and Reference Method have the same enrichment broth, ratio, and incubation conditions. This is often not the case, but this assumption should be stated. Otherwise, I don't see how you make this conclusion.
|  | Reference method | <3/3 | N/A
| 4 | Candidate method | <3/3 | 3/3 | Suggests matrix interference with enrichment. Consider dilution or preenrichment medium additive (e.g. Tween) to mitigate matrix interference, then repeat Fit-for-Purpose Assay. If still fails, consider alternative method / platform. | Return to method assessment | Do we need to create a scheme of dilution, neutralization etc to indicate when to stop? | SB - It could also be poor growth in the enrichments, which would not be fixed by dilution or neutralization.
|  | Reference method | <3/3 | N/A
| 5 | Candidate method | <3/3 | <3/3 | A "false positive" combined with a "false negative" suggests the samples could have been switched. Investigate. If confirmed, address laboratory procedures and rerun the Fit-for-Purpose Assay. | Return to method assessment |  | SB - Could also be inferior Test Method and cross contamination. Result is same - address lab procedures and rerun suitability. Might be helpful to have controls for the reference method.
|  | Reference method | 3/3 | N/A
| 6 | Candidate method | 3/3 | <3/3 | Suggests matrix was contaminated before use, or was cross-contaminated in the laboratory. Investigate including use of confirmatory testing: - If cross-contaminated in the laboratory, address laboratory procedures and rerun Fit-for-Purpose Assay, - If investigation excludes laboratory contamination, suggesting the matrix was contaminated as tested, consider your reporting responsibilities. | Return to method assessment | The risk of a confirmed positive on a "validation" sample should be addressed before conducting any kind of validation testing on foods or zone 1 environmental samples. Should we address that here, or in the article?
|  | Reference method | 3/3 | N/A

## Risk Assessment
Home | For Use with Products Regulated in the U.S. (e.g. FDA or USDA)
| How to use: | Start with Question 5A. Record the value corresponding to your answer for each question under "Your score" in the yellow cells. Follow the directions for your corresponding answer to determine which question to answer next. If the next step in your answer says "assessment is complete" tabulate your score from all questions and use the table on the "evaluation levels" tab to determine the level of evaluation suggested.
Back to Fit-for-Purpose Result Analysis
Risk assessment for suggested evaluation level
| No. | Question | Yes |  | No |  | Your score | Yes | No
|  |  | Score | If Yes, Next Step: | Score | If No, Next Step:
| 5A | Does the matrix fit into an AOAC or ISO 16140-2:2016 group (and subcategory - if listed) containing a validated representative example? | 0 | Go to 5B | 10 | Go to 7A
| 5B | Is the similar representative example (from 5A) validated at the intended test portion size, or larger? | 0 | Go to 5C | 0 | Go to 5D
| 5C | Is the similar representative example (from 5A) validated at the intended enrichment ratio? | 0 | Go to 6A | 0 | Go to 5D
| 5D | Does the matrix have a high risk association with the target analyte? | 10 | Go to 6A | 4 | Go to 6A
| 6A | Does the new matrix contain inclusions (e.g. ice cream with almonds vs ice cream)? | 0 | Go to 6B | 0 | Go to 7A
| 6B | Is the matrix inclusion representative of a matrix already validated by the method? | 0 | Go to 6C | 5 | Go to 7A
| 6C | Is the new matrix inclusion enrichment procedure the same as the validated representative example (e.g. do almonds have the same enrichment procedure as ice cream?) | 0 | Go to 7A | 2 | Go to 7A
| 7A | Does the matrix or any inclusions present have known ability to inhibit growth of the organism in enrichment or method detection chemistry? | 0 | Go to 7B | 0 | Assessment is complete
| 7B | Has a Fit-for-Purpose Test been performed? | 0 | Go to 7C | 5 | Assessment is complete
| 7C | Were the results of the Fit-for-Purpose Test acceptable? (e.g. recovery of all inoculated samples) | 0 | Assessment is complete | Ignore Score Total | Refer to Fit-for-Purpose Result Analysis Tab
|  |  | Total: |  |  |  | 0
Next:
|  | Conduct test method evaluation study according to risk assessment score in | Evaluation Levels tab

## Evaluation Levels
Home
| Risk Assessment Score: |  |  | 0
Return to risk assessment
Test Method Evaluation Levels
Test method evaluation levels and associated study design schemes determined by risk assessment scoring system.
| Level | Inoculation level | Inoculation level, CFU | Number of test portions | Inoculating Cells | Analysis | When to Use: | Notes
| Full Matrix Validation | High | 20-30 | 5 | Fresh culture or stressed e.g. by heat, drying or freezing | Presumptive results compared to reference method. Equivalent results required as determined by dPOD calculations. | Risk assessment score of 13+ | If no published validation exists, validation must demonstrate the inclusivity and exclusivity of the method. If a narrow published validation includes inclusivity and exclusivity studies, these need not be repeated. "Low " inoculation level should give 25 - 75 % positivity rate.
|  | Low | 0.2-5 | 20
|  | None | 0 | 5
| Moderate Matrix Evaluation | High | 20-30 | 2 | Fresh culture or stressed e.g. by heat, drying or freezing | Presumptive results compared to reference method. | Risk assessment score of 6-12
|  | Low | 0.2-5 | 10
|  | None | 0 | 2
| Minimal Matrix Evaluation | High | 20-30 | 1 - 7 | Fresh culture or stressed e.g. by heat, drying or freezing | 100 % correct response | Risk assessment score of 2-5
|  | None | 0 | 0-1
All matrices should be processed at intended-use test portion size and enrichment protocol